GENERAL INFORMATION

| Name of Auditor: | {{auditor_name}} | Name of Auditee: | {{auditee_name}} |
| --- | --- | --- | --- |
| Name of Branch: | {{branch_name}} | State: | {{state}} |
| Branch Code: | {{branch_code}} | District: | {{district}} |
| Date of Audit | {{audit_date}} | Address: | {{branch_address}} |

RISK LEVEL

| R1 | High Risk | RED |
| --- | --- | --- |
| R2 | Moderate Risk | YELLOW |
| R3 | Low Risk | GREEN |

Note:  High level risk observations to be attended on top priority followed by moderate and low-level risks.

Overall risk level of the branch: {{overall_risk_level}}

INTRODUCTION:

The DCB Bank Ltd. appointed M/s TECHNOCRATS a consulting firm, to carry out Electrical and fire Safety Audit of their branch located at {{branch_name}}. Accordingly, Electrical and fire safety audit of entire installation was carried out on __{{audit_date}}__ by engineer _{{audit_engineer_name}}_.

EXECUTIVE SUMMARY:

- Power Supply Arrangement:

- RCCB Provision: -

- Earthing System: -

- DG Set Condition: -

- Distribution Board / Panel Condition: -

- Thermography Observation: -

- UPS / AC Earthing: -

- Emergency Contact Display: -

- AMC Documentation: -

- Housekeeping Observation (Good Point): -

ELECTRICAL SAFETY AUDIT

| Sanctioned Load | {{sanctioned_load}} |
| --- | --- |
| Connected Load | {{connected_load}} |
| Power Factor | {{power_factor}} |
| Penalties/ Incentives | {{penalties_incentives}} |
| Total tonnage of Air Conditioners in Branch (TR) | {{ac_total_tonnage}} |
| D.G. Set and Capacity | {{dg_set_capacity}} |
| Battery Installation Date | {{battery_installation_date}} |

| Sr. No. | DESCRIPTION | OBSERVATIONS | RECOMMENDATIONS | RISK LEVEL |
| --- | --- | --- | --- | --- |
| A | Main Electrical Panel |  |  |  |  |
| 1 | Whether |  |  |  |
|  | MCCB/MCB provided | {{A1_mccb_obs}} | {{A1_mccb_rec}} | {{A1_mccb_risk}} |
|  | RCCB provided | {{A1_rccb_obs}} | {{A1_rccb_rec}} | {{A1_rccb_risk}} |
| 2 | Whether existing MCCB / MCBs / RCCBs and Fuses are of appropriate according to current carrying capacity of cable/wire on which it is installed | {{A2_capacity_obs}} | {{A2_capacity_rec}} | {{A2_capacity_risk}} |
| 3 | Size of the main cable/wire | {{A3_main_cable_size_obs}} | {{A3_main_cable_size_rec}} | {{A3_main_cable_size_risk}} |
| 4 | Whether Emergency light is provided. | {{A4_emergency_light_obs}} | {{A4_emergency_light_rec}} | {{A4_emergency_light_risk}} |
| 5 | Whether paper, old material or any other scrap kept near DB/Panels/ UPS/ Batteries etc. | {{A5_scrap_near_panel_obs}} | {{A5_scrap_near_panel_rec}} | {{A5_scrap_near_panel_risk}} |
| 6 | Whether Water Seepage is observed near any of the Electrical equipment and wirings. | {{A6_water_seepage_obs}} | {{A6_water_seepage_rec}} | {{A6_water_seepage_risk}} |
| 7 | Whether proper arrangement for ventilation of panel room/electrical room/ UPS room is provided. | {{A7_ventilation_obs}} | {{A7_ventilation_rec}} | {{A7_ventilation_risk}} |
| 8 | Hot spot identification in the main panel/DB by IR Thermal Imager | {{A8_hotspot_obs}} | {{A8_hotspot_rec}} | {{A8_hotspot_risk}} |
| 9 | RCCB testing with RCCB tester, Tripping time- | {{A9_rccb_testing_obs}} | {{A9_rccb_testing_rec}} | {{A9_rccb_testing_risk}} |
| B | Earthing System |  |  |  |
| 1 | Whether Earthing pits are provided and connected / Earthing report is provided by the Electrical Contractor or not. | {{B1_earthing_pits_obs}} | {{B1_earthing_pits_rec}} | {{B1_earthing_pits_risk}} |
| 2 | Whether The earthing for Connecting to Body and neutral are provided for DG sets. | {{B2_dg_earthing_obs}} | {{B2_dg_earthing_rec}} | {{B2_dg_earthing_risk}} |
| 3 | Whether two distinct earthing connections are provided? | {{B3_distinct_earthing_obs}} | {{B3_distinct_earthing_rec}} | {{B3_distinct_earthing_risk}} |
| 4 | Measurement of earthing resistance at the Earth pit if accessible and or at equipment end. | {{B4_earthing_resistance_obs}} | {{B4_earthing_resistance_rec}} | {{B4_earthing_resistance_risk}} |
| 5 | Sample checking of power sockets for presence of earthing connection. | {{B5_socket_earthing_obs}} | {{B5_socket_earthing_rec}} | {{B5_socket_earthing_risk}} |
| C | UPS Room/ Server Room |  |  |  |
| 1 | Whether timers used in the changeover of Air conditioners in UPS room/ server room and for Signage Boards to make auto ON/OFF (for schedule timings) | {{C1_timer_changeover_obs}} | {{C1_timer_changeover_rec}} | {{C1_timer_changeover_risk}} |
| 2 | Whether insulation shrouds are provided to battery terminals. | {{C2_battery_shroud_obs}} | {{C2_battery_shroud_rec}} | {{C2_battery_shroud_risk}} |
| 3 | Temperature in server room. Whether temperature indicators are provided. | {{C3_temperature_obs}} | {{C3_temperature_rec}} | {{C3_temperature_risk}} |
| 4 | Are smoke detectors provided. | {{C4_smoke_detector_obs}} | {{C4_smoke_detector_rec}} | {{C4_smoke_detector_risk}} |
| 5 | Does separate earthing connection provided to server. | {{C5_server_earthing_obs}} | {{C5_server_earthing_rec}} | {{C5_server_earthing_risk}} |
| 6 | Does earthing connection given to battery rack | {{C6_battery_rack_earthing_obs}} | {{C6_battery_rack_earthing_rec}} | {{C6_battery_rack_earthing_risk}} |
| 7 | Status of Ventilation in battery room/UPS room? | {{C7_ventilation_obs}} | {{C7_ventilation_rec}} | {{C7_ventilation_risk}} |
| 8 | Other observations, if any | {{C8_other_obs}} | {{C8_other_rec}} | {{C8_other_risk}} |
| 9 | Measurement of voltage, N to E voltage. | {{C9_ne_voltage_obs}} | {{C9_ne_voltage_rec}} | {{C9_ne_voltage_risk}} |
| D | DG set |  |  |  |
| 1 | Whether Auto Mains Failure (AMF) panel or Auto Transfer Switch (ATS) is provided. Inspection of the same shall be carried out. | {{D1_amf_ats_obs}} | {{D1_amf_ats_rec}} | {{D1_amf_ats_risk}} |
| E | General condition of an electrical installation |  |  |  |
| 1 | Whether loose electrical Connections/haphazard wiring observed. | {{E1_loose_connection_obs}} | {{E1_loose_connection_rec}} | {{E1_loose_connection_risk}} |
| 2 | General Condition of Air conditioners, water coolers, water filters etc. | {{E2_ac_watercooler_obs}} | {{E2_ac_watercooler_rec}} | {{E2_ac_watercooler_risk}} |
| 3 | Whether DB'S are Properly covered. | {{E3_db_cover_obs}} | {{E3_db_cover_rec}} | {{E3_db_cover_risk}} |
| 4 | General Condition of main switch, electric Meter board and change over switch etc. | {{E4_main_switch_obs}} | {{E4_main_switch_rec}} | {{E4_main_switch_risk}} |
| F | General/ Miscellaneous |  |  |  |
| 1 | Inspection of electrical installation in pantry/canteen | {{F1_pantry_installation_obs}} | {{F1_pantry_installation_rec}} | {{F1_pantry_installation_risk}} |
| 2 | Whether isolating switches are provided for the switching off of the non-essential load’s premises during night. | {{F2_isolating_switch_obs}} | {{F2_isolating_switch_rec}} | {{F2_isolating_switch_risk}} |
| 6 | Whether Preventive Maintenance of equipment is carried out by skilled license holder electricians? | {{F6_preventive_maintenance_obs}} | {{F6_preventive_maintenance_rec}} | {{F6_preventive_maintenance_risk}} |
| 7 | Whether the contact numbers of persons, electricians, power distribution co., Generator vendor etc. are available with guard and other staff and displayed? | {{F7_contact_display_obs}} | {{F7_contact_display_rec}} | {{F7_contact_display_risk}} |
| 8 | Electrical Meter details |  |  |  |
|  | - Meter size (phase and amp) | {{F8a_meter_size_obs}} | {{F8a_meter_size_rec}} | {{F8a_meter_size_risk}} |
|  | - Switchgear type and size | {{F8b_switchgear_obs}} | {{F8b_switchgear_rec}} | {{F8b_switchgear_risk}} |
|  | - Main cable/wire size. | {{F8c_main_cable_obs}} | {{F8c_main_cable_rec}} | {{F8c_main_cable_risk}} |
| G | Review of documents |  |  |  |
| 1 | Test reports of electrical equipment- IR test, Oil BDV test etc. | {{G1_test_reports_obs}} | {{G1_test_reports_rec}} | {{G1_test_reports_risk}} |
| 2 | Single line diagrams of electrical network | {{G2_single_line_obs}} | {{G2_single_line_rec}} | {{G2_single_line_risk}} |
| 3 | Preventive maintenance schedule. | {{G3_pm_schedule_obs}} | {{G3_pm_schedule_rec}} | {{G3_pm_schedule_risk}} |
| 4 | AMC documents of electrical gadgets/equipment. | {{G4_amc_docs_obs}} | {{G4_amc_docs_rec}} | {{G4_amc_docs_risk}} |
| 5 | Electrical safety training details, if any. | {{G5_training_obs}} | {{G5_training_rec}} | {{G5_training_risk}} |
| 6 | Earthing resistance measurement report. | {{G6_earthing_report_obs}} | {{G6_earthing_report_rec}} | {{G6_earthing_report_risk}} |
| 7 | Thermography records | {{G7_thermography_obs}} | {{G7_thermography_rec}} | {{G7_thermography_risk}} |

| Photo Evidence | Observations | Recommendations |
| --- | --- | --- |
| {%tr for item in photo_evidence %}{{item.before_image}} {{item.after_image}} | {{item.photo_obs}} | {{item.photo_rec}}{%tr endfor %} |

| Audit Parameter | Test Point | Readings at distribution board/Electricity meter | Remarks |
| --- | --- | --- | --- |
| Voltage at Incoming point (Volts) | R-Y | {{voltage_ry}} | {{voltage_phase_remark}} |
|  | Y-B | {{voltage_yb}} |  |
|  | B-R | {{voltage_br}} |  |
|  | R-N | {{voltage_rn}} | {{voltage_neutral_remark}} |
|  | Y-N | {{voltage_yn}} |  |
|  | B-N | {{voltage_bn}} |  |
|  | N-E | {{voltage_ne}} | {{voltage_ne_remark}} |
|  | P-E | {{voltage_pe}} | {{voltage_pe_remark}} |
|  | R | {{current_r_reading}} | {{current_remark}} |
|  | Y | {{current_y_reading}} |  |
|  | B | {{current_b_reading}} |  |
|  | N | {{current_n_reading}} | {{current_n_remark}} |
| Frequency |  | {{frequency_reading}} | {{frequency_remark}} |
| Power Factor |  | {{power_factor}} | {{pf_remark}} |
| Earthing resistance |  | {{earthing_resistance_reading}} | {{earthing_resistance_remark}} |

Connected Load

| {{branch_name}}} |  | {{audit_date}} |  |  |
| --- | --- | --- | --- | --- |
| CONNECTED ELECTRICAL LOAD SHEET |  |  |  |  |  |
| S.N. | PARTICULARS | NO. | EACH WATT | TOTAL WATT |  |
| A | LIGHTING LOAD |  |  |  |  |
| 1 | Tube Light | {{A1_qty}} | {{A1_each_watt}} | {{A1_total_watt}} |  |
| 2 | Spot light | {{A2_qty}} | {{A2_each_watt}} | {{A2_total_watt}} |  |
| 3 | 2'x2' LED Square Fitting | {{A3_qty}} | {{A3_each_watt}} | {{A3_total_watt}} |  |
| 4 | Tube light CFL | {{A4_qty}} | {{A4_each_watt}} | {{A4_total_watt}} |  |
| 5 | 48" Ceiling Fan | {{A5_qty}} | {{A5_each_watt}} | {{A5_total_watt}} |  |
| 6 | Wall Fans | {{A6_qty}} | {{A6_each_watt}} | {{A6_total_watt}} |  |
| 7 | Exhaust Fan | {{A7_qty}} | {{A7_each_watt}} | {{A7_total_watt}} |  |
| 8 | 20 Watts LED | {{A8_qty}} | {{A8_each_watt}} | {{A8_total_watt}} |  |
|  | TOTAL of (A) |  |  | {{A_total_watt}} |  |
| B | COMPUTER / UPS / MIC'S LOAD | {{B_qty}} | {{B_each_watt}} | {{B_total_watt}} |  |
| 1 | UPS | {{B1_qty}} | {{B1_each_watt}} | {{B1_total_watt}} |  |
| 2 | Other Power Load (Xerox machine, other machine etc) | {{B2_qty}} | {{B2_each_watt}} | {{B2_total_watt}} |  |
| 3 | Television | {{B3_qty}} | {{B3_each_watt}} | {{B3_total_watt}} |  |
|  | TOTAL of (B) |  |  | {{B_total_sum}} |  |

| C | POWER LOAD |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1 | Microwave | {{C1_qty}} | {{C1_each_watt}} | {{C1_total_watt}} |  |
| 2 | Water cooler | {{C2_qty}} | {{C2_each_watt}} | {{C2_total_watt}} |  |
| 3 | Fridge | {{C3_qty}} | {{C3_each_watt}} | {{C3_total_watt}} |  |
| 4 | Hand dryer | {{C4_qty}} | {{C4_each_watt}} | {{C4_total_watt}} |  |
| 5 | Oven | {{C5_qty}} | {{C5_each_watt}} | {{C5_total_watt}} |  |
| 6 | Kettle | {{C6_qty}} | {{C6_each_watt}} | {{C6_total_watt}} |  |
| 7 | Coffee Machine | {{C7_qty}} | {{C7_each_watt}} | {{C7_total_watt}} |  |
| 8 | Induction | {{C8_qty}} | {{C8_each_watt}} | {{C8_total_watt}} |  |
|  | TOTAL of (C) |  |  | {{C_total_sum}} |  |
| D | A.C. LOAD (TR) |  |  |  |  |
| 1 | VRF AC | {{D1_qty}} | {{D1_each_watt}} | {{D1_total_watt}} |  |
| 2 | Split AC (1.0 TR) | {{D2_qty}} | {{D2_each_watt}} | {{D2_total_watt}} |  |
| 3 | Split AC (1.5 TR) | {{D3_qty}} | {{D3_each_watt}} | {{D3_total_watt}} |  |
| 4 | Split AC (2.0 TR) | {{D4_qty}} | {{D4_each_watt}} | {{D4_total_watt}} |  |
| 5 | Cassette AC | {{D5_qty}} | {{D5_each_watt}} | {{D5_total_watt}} |  |
| 6 | Other Air-conditioning Load | {{D6_qty}} | {{D6_each_watt}} | {{D6_total_watt}} |  |
|  | TOTAL of (D) |  |  | {{D_total_sum}} |  |
|  | TOTAL CONNECTED LOAD (Watt) |  |  | {{total_watt}} |  |
|  | TOTAL CONNECTED LOAD (KW) |  |  | {{total_kw}} |  |

PHOTOS BEFORE & AFTER

| Before | After | Remark |
| --- | --- | --- |